ENERGY SOURCES REGULATIONS

(ENERGY EFFICIENCY, ENERGY MARKINGS AND ENERGY RATINGS OF AIR CONDITIONERS) 5765-2004

PUBLISHED IN  5765, PAGE 133

The English version is a non-binding, unofficial translation from the original, binding, Hebrew version and is posted here exclusively for the convenience of the Public. Only the Hebrew version, as officially published in the official gazette (Reshumot) shall be binding.

By virtue of the power vested in me pursuant to Section 3 of the Energy Sources Law, 5750-1989.  And with the approval of the Knesset's Economic Committee, I hereby enact these regulations:

| Definitions | 1. | In these Regulations – |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | "Energy Rating" |  | An air-conditioner's energy efficiency level as opposed to the minimum energy efficiency level stated in Regulation 2(a) expressed in Latin letters G, being the lowest and through to A, being the highest; |  |
|  |  | "The Standard" - |  | Israeli Standard 994, Part 1 – Air Conditioners: Safety and Operational Requirements, deposited at the Israeli Standards Institute's offices for public perusal, located at 42 Haim Lebanon Street, Tel-Aviv and the Infrastructure Resources Management Department offices, The National Infrastructures Office, 234 Yaffo Street, Jerusalem; |  |
|  |  | "Air Conditioner" - |  | Air Conditioner within the meaning of the standard, window type or split type or channeled type; |  |
|  |  | "Window Type Air Conditioner" - |  | An air conditioner that is comprised of one unit, intended to be installed at a window or on a wall, or a mobile air conditioner whereby the air dispersed from it faces directly toward the air-conditioned area or heated area; |  |
|  |  | "Split Type Air Conditioner" - |  | An air conditioner that is comprised of two or more units whereby at least one unit is located outside the air-conditioned area and the air dispersion is facing directly to the air-conditioned area or heated area; |  |
|  |  | "Channeled Type Air Conditioner" - |  | An air-conditioner that is comprised of one or more units whereby the air dispersion to the cooled or heated areas is done through channels; |  |
|  |  | "Approved Laboratory" - |  | Within the meaning of Section 12 of the Standards Law, 5713-1953; |  |
|  |  | "Efficiency Coefficient (COP)" - |  | Within the meaning in the Standard; |  |
|  |  | "Remote Marketing" |  | As defined in Section 14C of the Consumer Protection Law, 5741-1981. |  |
| Minimum Energy Efficiency Duty | 2. | (a) A person will not import, sell, market an air-conditioner nor present it or a means resembling it, in a shop display window, exhibitions, shows and such like places unless the air-conditioner satisfies the efficiency energy requirements as set forth in the first addendum and in the periods as stated therein. (b) Testing to determine whether the air-conditioner satisfies the energy efficiency conditions as set forth in sub-regulation (a) will be conducted only in a certified laboratory on the dates determined in the standard to perform tests and pursuant to the law. (c) A manufacturer or importer of an air-conditioner will submit the results of each test as stated in sub-regulation (b) to the commissioner within 30 days of the tests being conducted and if the results of the tests require that the label in Regulation 3 needs to be changed according to the details in Regulation 4, then he should attach his proposed change. |  |  |  |
| Energy Marking Duty | 3. | A person will not present an air-conditioner or a picture of an air-conditioner, drawing or means resembling an air-conditioner in a shop, display, exhibition or such like place, over the internet or any other marketing means to the exclusion of remote marketing, unless an energy label pursuant to the example and as detailed in the second addendum (hereinafter – the label) is affixed to it or exhibited near it or published alongside it in a prominent place, that is in accordance with the last approval given by the commissioner for that air-conditioner pursuant to Regulation 6, and with respect to remote marketing, to the exclusion of the internet – published alongside the picture of the air-conditioner or its COP data description and the energy rating thereof. |  |  |  |
| The Label Details | 4. | The details to appear on the label pursuant to Regulation 3 are: - The name of the original manufacturer; - The name of the importer; - The air-conditioner model and type; - The air-conditioner's rating pursuant to Regulation 5, on the basis of the COP efficiency coefficient that was measured upon cooling; - Electricity consumption during constant use while heating and cooling (in kilowatts per hour); - COP efficiency coefficient while cooling; - Cooling and heating output in kilowatts; - Marking the climate conditions (T) which the air-conditioner is intended to work in as set forth in the standard; - The minimum COP efficiency coefficient pursuant to Regulation 2; - The year the label was produced in the marking on the right hand lower corner of the label as noted in the first addendum; - The words "valid through…" while denoting the validity date pursuant to the third addendum. |  |  |  |
| The Air-Conditioner's AG Energy Rating | 5. | (a) The commissioner will determine the energy rating for the air-conditioner based upon the results that were submitted to him pursuant to Regulation 2(c) in accordance with the table in the third addendum. (b) The commissioner will update the rating according to the table in the third addendum or according to the results of additional tests that were performed pursuant to Regulation 2(b). (c) The commissioner will give notice pertaining to the need to update the labels in two daily newspapers no later than 60 days before the date the update is supposed to come into force. |  |  |  |
| Approving the Label | 6. | The commissioner will approve the label after the tests stated in Regulation 5 are conducted, within 15 days of the day the documents are submitted pursuant to Regulation 2(c); If the commissioner deems, based on the results of the said tests in Regulation 5, that the label is not to be approved, notice thereof will be sent by the date as stated above to the manufacturer or importer who submitted the label in addition to his reasons. |  |  |  |
| Commencement | 7. | These regulations will come into force on the 20th of Tevet 5765 (January 1, 2005). |  |  |  |
| Repealed | 8. | The Energy Sources Regulations (Energy Efficiency and Energy Marking for Air-Conditioners), 5761-2000 (hereinafter – The Original Regulations) – Repealed. |  |  |  |
| Transitional Provisions | 9. | Notwithstanding the provisions in Regulation 7 above, it will be permissible, not later than by 30.4.05 to market and sell an air-conditioner that does not comply with the provisions in Regulation 2 above and this provided the two accumulative conditions below are fulfilled: - The air-conditioner satisfies the minimum efficiency requirements in the original regulations before these regulations come into force; - The air-conditioner is manufactured or released from customs no later than 31.12.04. and it is for the marketer or the seller to prove that it satisfies the conditions set forth above, pursuant to the matter at hand. |  |  |  |
| FIRST ADDENDUM (REGULATION 2(A)) Energy Efficiency Requirements – Validity Periods |  |  |  |  |  |
| Validity Period |  |  | Type of Air-Conditioner and Output in KW |  | Minimal COP |
| 20th Tevet 5765 (January 1, 2005) through until 22nd Tevet 5768 (December 31, 2007) |  |  | Split KW<=7 |  | 3.00 |
|  |  |  | Split 18>KW>7 |  | 2.8 |
|  |  |  | Channeled KW<=7 |  | 2.9 |
|  |  |  | Channeled 12=>KW>7 |  | 2.8 |
|  |  |  | Channeled 18=>KW>12 |  | 2.7 |
|  |  |  | Window |  | 2.60 |
| 23rd Tevet 5768 (January 1, 2008) through to 24th Tevet 5771 (December 31, 2010) |  |  | Split |  | 3.20 |
|  |  |  | Channeled |  | 3.00 |
|  |  |  | Window |  | 2.80 |
| From 25th Tevet 5771 (January 1, 2011) |  |  | Split |  | 3.50 |
|  |  |  | Channeled |  | 3.20 |
|  |  |  | Window |  | 3.50 |

SECOND ADDENDUM

(REGULATION 3)

Part A: Example of a Label

| ENERGY LABEL Manufacturer's Name Model Cooling 0.0 KW/H Heating 0.0 KW/H; }; electricity consumption during constant usage. Cooling 0.0 KW/H Heating 0.0 KW/H; }; COP Efficiency Coefficient. - KW/H 0.0 KW/H; Cooling Output Heating Output. Minimum COP 2.6; T. For additional details please refer to consumer's pamphlet; Valid through 31.12.2004. |  | Energy Rating MOST EFFICIENT LEAST EFFICIENT |
| --- | --- | --- |

PART B: Label Specification

The following color index is to be used:

CMYK – cyan, magenta, yellow, black

Example – 0% black, 100% yellow, 70% magenta, 0% cyan = 07X0

The arrow color mix is expressed in CMYK terms as set forth below:

- A: X0X0

- B : 70X0

- C: 30X0

- D: 00X0

- E: 03X0

- F: 07X0

- G: 0XX0

Label Dimensions

All measurements are in millimeters.

| THIRD ADDENDUM (REGULATIONS 4(11) AND ) Air-Conditioner's Energy Ratings A through to G (Circle the result of the test that is closest to the value stipulated) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Validity Period | Type of Air-Conditioner and Output in KW | Minimal COP | A | B | C | D | E | F | G |
| 20th Tevet 5765 (January 1, 2005) through until 22nd Tevet 5768 (December 31, 2007) | Split KW<=7 | 3.00 | 3.30 | 3.25 | 3.2 | 3.15 | 3.10 | 3.05 | 3.00 |
|  | Split 18>KW>7 | 2.8 | 3.20 | 3.15 | 3.10 | 3.05 | 3.00 | 2.90 | 2.8 |
|  | Channeled KW<=7 | 2.9 | 3.30 | 3.25 | 3.20 | 3.15 | 3.10 | 3.00 | 2.9 |
|  | Channeled 12=>KW>7 | 2.8 | 2.8 | 2.90 | 3.00 | 3.05 | 3.10 | 3.15 | 3.20 |
|  | Channeled 18=>KW>12 | 2.7 | 2.7 | 2.80 | 2.90 | 2.95 | 3.00 | 3.05 | 3.10 |
|  | Window | 2.60 | 2.60 | 2.65 | 2.70 | 2.75 | 2.80 | 2.85 | 2.90 |
| 23rd Tevet 5768 (January 1, 2008) through to 24th Tevet 5771 (December 31, 2010) | Split | 3.20 | 3.20 | 3.30 | 3.4 | 3.45 | 3.50 | 3.55 | 3.60 |
|  | Channeled | 3.00 | 3.00 | 3.05 | 3.10 | 3.15 | 3.20 | 3.25 | 3.30 |
|  | Window | 2.80 | 2.80 | 2.90 | 3.00 | 3.05 | 3.10 | 3.15 | 3.20 |
| From 25th Tevet 5771 (January 1, 2011) | Split | 3.50 | 3.50 | 3.55 | 3.60 | 3.65 | 3.70 | 3.75 | 3.80 |
|  | Channeled | 3.20 | 3.20 | 3.30 | 3.4 | 3.45 | 3.50 | 3.55 | 3.60 |
|  | Window | 3.50 | 3.50 | 3.55 | 3.60 | 3.65 | 3.70 | 3.75 | 3.80 |

Sefer Hahukim 5750, page 28.

Yalkut Pirsumim 5757, page 4650.

Sefer Hahukim 5713, page 30; 5731, page 22; 5739, page 34.

Sefer Hahukim 5741, page 248, Sefer Hahukim 5758, page 298 in which Section 14C was added to the Consumer Protection Law.

5761, page 201; 5764, page 102.